Waste Treatments BREF

Chapter 4

August 2006

4 TECHNIQUES TO CONSIDER IN THE DETERMINATION OF BAT................................ 277

4.1 Common techniques to consider in the determination of BAT ............................................... 279

4.1.1 Techniques to improve knowledge of the waste IN........................................................... 279

4.1.1.1 Waste composition characterisation............................................................................. 279

4.1.1.2 Pre-acceptance procedure to assess if waste is suitable to be stored or/and treated

in the installation.......................................................................................................... 283

4.1.1.3 Acceptance procedures when the waste arrives at the WT installation........................ 286

4.1.1.4 Sampling ...................................................................................................................... 289

4.1.1.5 Reception facilities....................................................................................................... 291

4.1.2 Management systems......................................................................................................... 294

4.1.2.1 Techniques to determine the type of waste treatment applied to each waste ............... 294

4.1.2.2 Guaranteed supply of waste ......................................................................................... 295

4.1.2.3 Techniques to increase the traceability of waste .......................................................... 296

4.1.2.4 Improvement of the efficiency of waste treatments ..................................................... 298

4.1.2.5 Management techniques............................................................................................... 299

4.1.2.6 Identification of economies of scale and synergies...................................................... 300

4.1.2.7 Provision of full details on the activities to be carried out ........................................... 301

4.1.2.8 Environmental management tools................................................................................ 302

4.1.2.9 Promote good collaboration between waste producer and holder................................ 309

4.1.2.10 Utilisation of qualified personnel in the facility........................................................... 310

4.1.3 Utilities and raw material management ............................................................................. 311

4.1.3.1 Provision of a breakdown of the energy consumption and generation by source ........ 311

4.1.3.2 Use of cleaner fuels...................................................................................................... 312

4.1.3.3 Use of waste as fuel ..................................................................................................... 312

4.1.3.4 Measures to improve energy efficiency ....................................................................... 313

4.1.3.5 Raw material selection ................................................................................................. 316

4.1.3.6 Techniques to reduce water use and prevent water contamination .............................. 317

4.1.4 Storage and handling ......................................................................................................... 320

4.1.4.1 Generic techniques applied to waste storage................................................................ 320

4.1.4.2 Techniques for the storage of drums and other containerised wastes .......................... 323

4.1.4.3 Techniques to improve the maintenance of storage ..................................................... 324

4.1.4.4 Bunds for liquid storage............................................................................................... 325

4.1.4.5 Restricting the use of open topped tanks, vessels or pits ............................................. 325

4.1.4.6 Generic techniques applied to waste handling ............................................................. 326

4.1.4.7 Handling of solid waste................................................................................................ 328

4.1.4.8 Handling activities related to transfers into or from drums and containers.................. 328

4.1.4.9 Automatic unloading of drums..................................................................................... 329

4.1.4.10 Techniques to improve stock control in storage ...........................................................330

4.1.4.11 Computer controlled high rack storage area for hazardous wastes...............................331

4.1.4.12 Tank and process pipework labelling ...........................................................................332

4.1.4.13 Carrying out a compatibility test prior to transfer ........................................................333

4.1.4.14 Segregation of storage ..................................................................................................336

4.1.5 Segregation and compatibility testing ................................................................................338

4.1.6 Techniques for the environmental improvement of other common techniques .................342

4.1.6.1 Techniques to reduce emissions from drum crushing and shredding activities............342

4.1.6.2 Techniques to reduce emissions from washing processes ............................................344

4.1.7 Techniques to prevent accidents and their consequences...................................................344

4.1.8 Techniques to reduce noise and vibrations.........................................................................348

4.1.9 Techniques for de-commissioning .....................................................................................349

4.2 Techniques to consider in biological treatments......................................................................350

4.2.1 Selection of the appropriate biological treatment...............................................................350

4.2.2 Specific storage and handling techniques for biological treatments...................................351

4.2.3 Selection of feedstock for biological systems ....................................................................353

4.2.4 Generic techniques for anaerobic digestion .......................................................................354

4.2.5 Increase the retention time in the anaerobic digestion processes .......................................356

4.2.6 Techniques for the reduction of emissions when biogas is used as fuel.............................356

4.2.7 Increasing the energy efficiency of the electricity generators and anaerobic digestion

systems ...............................................................................................................................358

4.2.8 Techniques to improve mechanical biological treatments..................................................359

4.2.9 Aerobic digestion of slurries ..............................................................................................361

4.2.10 Aeration control of biological degradation.........................................................................362

4.2.11 Management of exhaust gas in MBTs................................................................................363

4.2.12 Abatement techniques for biological treatments ................................................................364

4.3 Techniques for physico-chemical treatments...........................................................................365

4.3.1 Techniques used in physico-chemical treatment plants of waste waters............................365

4.3.1.1 Planning the operation of a Ph-c plant..........................................................................365

4.3.1.2 Techniques for Ph-c reactors ........................................................................................366

4.3.1.3 Neutralisation ...............................................................................................................367

4.3.1.4 Precipitation of metals ..................................................................................................368

4.3.1.5 Break-up of emulsions..................................................................................................370

4.3.1.6 Oxidation/reduction......................................................................................................371

4.3.1.7 Techniques for the treatment of wastes containing cyanides........................................371

4.3.1.8 Techniques for the treatment of wastes containing chromium (VI) compounds ..........372

4.3.1.9 Techniques when treating waste water contaminated with nitrites...............................373

4.3.1.10 Treatments of phenolic solutions by oxidation.............................................................373

4.3.1.11 Techniques for wastes containing ammonia .................................................................374

4.3.1.12 Filtration .......................................................................................................................374

4.3.1.13 Flotation.......................................................................................................................375

4.3.1.14 Ion exchange processes ................................................................................................376

4.3.1.15 Membrane filtration......................................................................................................376

4.3.1.16 Sedimentation ...............................................................................................................378

4.3.1.17 Sieving.........................................................................................................................379

4.3.1.18 Solvent extraction.........................................................................................................379

4.3.1.19 Techniques when treating waste water containing precious metals..............................380

4.3.1.20 Techniques for the treatment of aqueous marine waste................................................381

4.3.1.21 Abatement techniques applied in Ph-c treatment plants ...............................................382

4.3.2 Techniques for the physico-chemical treatments of solids and sludges .............................384

4.3.2.1 Pretreatment before immobilisation .............................................................................384

4.3.2.2 Laboratory activities .....................................................................................................385

4.3.2.3 Immobilisation..............................................................................................................386

4.3.2.4 Cement solidification....................................................................................................389

4.3.2.5 Use of other reagents in the immobilisation process ....................................................391

4.3.2.6 Phosphate stabilisation .................................................................................................393

4.3.2.7 Thermal treatments of solid waste................................................................................394

4.3.2.8 Recovery of salts by solution/evaporation....................................................................395

4.3.2.9 Acid extraction .............................................................................................................397

4.3.2.10 Excavation and removal of contaminated soil..............................................................398

4.3.2.11 Thermal desorption of soil............................................................................................399

4.3.2.12 Vapour extraction .........................................................................................................401

4.3.2.13 Soil washing .................................................................................................................401

4.3.2.14 Solvent extraction ........................................................................................................ 403

4.3.2.15 Evaporation.................................................................................................................. 403

4.3.2.16 Purification and recycling of FGT wastes.................................................................... 404

4.3.3 Physico-chemical treatments of specific wastes ................................................................ 406

4.3.3.1 Treatment of oils contaminated with PCB................................................................... 406

4.3.3.2 Thermochemical conversion of waste asbestos............................................................ 406

4.3.3.3 Treatment of waste containing mercury....................................................................... 408

4.4 Techniques to consider for treatments applied mainly to recover the materials from waste... 411

4.4.1 Waste oil............................................................................................................................ 411

4.4.1.1 Generic techniques to increase the yield of re-refining................................................ 411

4.4.1.2 Selection of waste oils to be re-refined ........................................................................ 412

4.4.1.3 Distillation/clay process............................................................................................... 413

4.4.1.4 Distillation and chemical treatment or solvent extraction............................................ 413

4.4.1.5 Solvent extraction process and distillation................................................................... 414

4.4.1.6 Thin film evaporator and different finishing processes................................................ 414

4.4.1.7 Thermal de-asphalting process..................................................................................... 415

4.4.1.8 Recycling in a lubricating oil refinery.......................................................................... 416

4.4.1.9 Hydrotreatment ............................................................................................................ 416

4.4.1.10 Direct contact hydrogenation process .......................................................................... 417

4.4.1.11 Solvent extraction ........................................................................................................ 418

4.4.1.12 Caustic soda and bleaching earth treatment ................................................................. 419

4.4.1.13 Treatment in a refinery................................................................................................. 419

4.4.1.14 Water management in waste oils re-refining installations ........................................... 421

4.4.1.15 Waste management in waste oils treatment installations ............................................. 424

4.4.2 Waste solvents ................................................................................................................... 424

4.4.2.1 Selection of waste solvents to be recycled ................................................................... 424

4.4.2.2 Improvement of regeneration treatment of waste solvents........................................... 425

4.4.2.3 Waste water treatment in waste solvent facility........................................................... 426

4.4.2.4 Evaporation of distillation residues.............................................................................. 427

4.4.2.5 Full automatisation of residue incineration.................................................................. 428

4.4.3 Waste catalysts .................................................................................................................. 428

4.4.3.1 Generic techniques used in the treatment of waste catalyst ......................................... 428

4.4.3.2 To improve control of the process ............................................................................... 429

4.4.3.3 Abatement techniques used in the waste catalyst regeneration sector ......................... 430

4.4.4 Activated carbon................................................................................................................ 430

4.4.4.1 Choice of furnace used to regenerate the waste activated carbon ................................ 430

4.4.4.2 Flue-gas treatment........................................................................................................ 431

4.4.4.3 Waste water treatment plants ....................................................................................... 433

4.4.4.4 Pollution control techniques applicable to activated carbon regeneration ................... 434

4.4.5 Resin regeneration ............................................................................................................. 434

4.4.5.1 Techniques for the regeneration of resins .................................................................... 434

4.4.5.2 Pollution control techniques applicable to activated carbon and for resin

regeneration.................................................................................................................. 435

4.5 Techniques to consider for the preparation of waste to be used as fuel .................................. 436

4.5.1 To improve the knowledge of the waste fuel prepared...................................................... 436

4.5.2 Prepare different types of waste fuel ................................................................................. 437

4.5.3 Techniques for preparation of solid waste fuel.................................................................. 438

4.5.3.1 Selection of techniques used for the preparation of solid waste fuel ........................... 438

4.5.3.2 Drying the solid waste fuel .......................................................................................... 439

4.5.3.3 Magnetic separation of ferrous metals ......................................................................... 440

4.5.3.4 Separation of non-ferrous metals ................................................................................. 441

4.5.3.5 All-metal separators ..................................................................................................... 442

4.5.3.6 Positive and negative sorting ....................................................................................... 442

4.5.3.7 Use of pneumatic assistance for size reduction............................................................ 443

4.5.3.8 Drum screens ............................................................................................................... 443

4.5.3.9 Improvements of the dust filters in the cyclones of air classifiers ............................... 444

4.5.3.10 Near infrared spectroscopy .......................................................................................... 445

4.5.3.11 Automatic picking........................................................................................................ 446

4.5.3.12 Pelletising and agglomeration ...................................................................................... 446

4.5.3.13 Cryogenic grinding ...................................................................................................... 447

4.5.4 Techniques for preparation of liquid waste fuel ................................................................ 448

4.5.4.1 Generic techniques for preparation of liquid waste fuel .............................................. 448

4.5.4.2 Thermal cracking of waste oils .................................................................................... 449

4.5.4.3 Membrane filtration as a mild reprocessing of waste oils ............................................450

4.5.5 Preparation of gas fuel from waste.....................................................................................450

4.5.6 Prevention and abatement techniques applied for the preparation of waste fuel from

hazardous waste .................................................................................................................451

4.6 Waste gas treatments ...............................................................................................................452

4.6.1 Generic prevention techniques ...........................................................................................452

4.6.2 Leak detection and repair programme................................................................................454

4.6.3 Cyclones............................................................................................................................455

4.6.4 Electrostatic precipitators (ESP) ........................................................................................456

4.6.5 Fabric filters .......................................................................................................................456

4.6.6 Lamella separators .............................................................................................................458

4.6.7 Adsorption.........................................................................................................................458

4.6.8 Condensation.....................................................................................................................461

4.6.9 Temporary and long term foams ........................................................................................463

4.6.10 Biofilters............................................................................................................................463

4.6.11 Scrubbing ...........................................................................................................................469

4.6.12 Chemical scrubbing............................................................................................................471

4.6.13 Low oxidative processes ....................................................................................................472

4.6.14 Incineration ........................................................................................................................473

4.6.15 Combined combustion........................................................................................................475

4.6.16 Catalytic combustion..........................................................................................................476

4.6.17 Regenerative catalytic oxidiser ..........................................................................................478

4.6.18 Regenerative thermal oxidiser............................................................................................479

4.6.19 Oxidation treatments ..........................................................................................................481

4.6.20 Non-thermal plasma treatment ...........................................................................................482

4.6.21 NOx abatement techniques .................................................................................................482

4.6.22 Odour reduction techniques ...............................................................................................483

4.6.23 Odour management in biological treatment plants.............................................................484

4.6.24 Some examples of waste gas treatment applied to different waste treatments ...................485

4.6.25 Some examples of combined treatment of exhaust air .......................................................486

4.6.26 Some examples of abatement techniques comparisons applied to the preparation of

waste fuel from hazardous waste........................................................................................487

4.7 Waste water management ........................................................................................................488

4.7.1 Management on the waste water within the waste treatment sector...................................489

4.7.2 Parameters to consider before mixing waste waters...........................................................491

4.7.3 Primary waste water treatments .........................................................................................492

4.7.4 Secondary waste water treatments .....................................................................................493

4.7.5 Tertiary waste water treatments .........................................................................................494

4.7.6 Final waste water treatments ..............................................................................................496

4.7.6.1 Evaporation...................................................................................................................497

4.7.6.2 Adsorption ....................................................................................................................498

4.7.6.3 Membrane filtration......................................................................................................498

4.7.6.4 Ozone/UV treatment.....................................................................................................500

4.7.7 Reporting of the components in the effluent generated in waste treatment facilities .........502

4.7.8 Examples of some waste water treatment plants in the sector............................................504

4.8 Residue management ...............................................................................................................505

4.8.1 Residue management plan..................................................................................................505

4.8.2 Techniques to prevent the contamination of soil................................................................507

4.8.3 Techniques to reduce the accumulation of residues within the installation........................508

4.8.4 Promoting the external residue exchange...........................................................................509

